General School - No.30 Radon (List additional hazards, risks and controls particular to your school using the blank template no.55)

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazards | Is the hazard present? Y/N | What is the risk? | Risk rating  H = High  M = Medium L = Low | Controls  (When all controls are in place risk will be reduced) | Is this control in place? | Action/to do list/outstanding controls  \*Risk rating applies to outstanding controls outlined in this column | Person responsible | Signature and date when action completed |
| Identified High Radon Level |  | Lung cancer and other health risks  (Long term exposure) | H | Radon measurements are taken by an accredited radon measurement company (for further information consult the Radiological Protection Institute of Ireland (RPII) www.rpii. ie) |  |  |  |  |
|  |  | H | The Radiological Protection Institution of Ireland - RPII have been informed of any high radon levels following results of measurements taken and any advice has been followed |
|  |  | H | Where high radon levels were found, an engineered system was installed e.g. a sump or an air vent was introduced |
|  |  | H | If an engineered system is fitted to reduce levels, procedures are in  place to ensure the system remains mechanically operational and is kept switched on |
|  |  |  |  |  |  |  |  |  |

If there is one or more High Risk (H) actions needed, then the risk of injury could be high and immediate action should be taken. Medium Risk (M) actions should be dealt with as soon as possible. Low Risk (L) actions should be dealt with as soon as practicable.

Reference

Department of Education and Science Circular M/46/01: Radon Mitigation for Schools.

Note: Although the national reference level for radon in the workplace is 400Bq/m3 in the survey carried out by the RPII on radon levels in Irish Primary and Post-primary schools, in order to provide additional protection to children while in school, the RPII advised that remedial work should be undertaken to reduce exposure to radon where classrooms were found to have radon concentrations above 200 Bq/m3

Risk Assessment carried out by: Date: / /

© All Rights Reserved

63