| Hazards | Is the hazard present? Y/N | What is the risk? | Risk rating H = High M = Medium L = Low | Control measures | Is this control in place? Y/N | If no, what actions are required to implement the control? | Person responsible | Date action completed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Collapse of lift |  | Death / serious injury | H | Maintenance contract with lift service company |  |  |  |  |
|  |  |  |  | Lift is subject to statutory examination every 6 months and report of thorough examination is available |  |  |  |  |
| Crush injury from moving doors |  | Bruising, entrapment | M | Car and landing doors are properly maintained |  |  |  |  |
| Fall into lift shaft |  | Death, serious injury | H | Lift shaft inaccessible except for maintenance |  |  |  |  |
| Persons trapped in lift |  | Panic | M | Means of raising alarm available and working in lift car |  |  |  |  |
| Trip hazard from car and landing being at different levels |  | Bruise, fracture | M | Proper maintenance procedures |  |  |  |  |
| Contact with lift drive system |  | Bruise, amputation | H | No access except for maintenance If lift room exists it is not to be used for storage |  |  |  |  |
| Trapped by fire |  | Death | H | Clear procedures and instructions exist relating to use of lift in fire situations |  |  |  |  |

This template is applicable to lift systems with fully enclosed lift cars.

© All Rights Reserved

If there is one or more High Risk (H) actions needed, then the risk of injury could be high and immediate action should be taken.

Medium Risk (M) actions should be dealt with as soon as possible.   Low Risk (L) actions should be dealt with as soon as practicable.

Risk Assessment carried out by: 		Date:	/	/